Lab Book

Mon Feb 5

Task List

Finding Fringes

Observations:
- Setup the beam splitter to direct a portion of the beam to the first mirror
- Another portion was directed to the second mirror
- Placed in the compensator in the reflected leg of the mirror, to compensate for the path length difference due to the index of refraction
- Fringes are a very sensitive to vibration, tapping the table causes them to moves
- We noticed when changing the d distance of the laser the fringe pattern was moving

Calibration

Observations:
- Opened the script called “michelson_timestream.m” and ran the command “data = michelson_timestream(0.01, 0.001);”
  - We were then prompted to select a pixel location, we tried to select a location that was not that saturated but still had enough information to see the fringes move
- We tried a range of spans and speeds
  - Faster speed usually isn't better, found that we had errors when we were too slow
  - Started with about 10 fringes and decided to try only 5 since we would see more movement as we changed the position of the laser

Q: Do you think the stage will move exactly to the position that you specify?

No because the laser is being moved with a stepper motor servo the distance can only change at discrete steps. If the stepper has incorporated micro stepping it can become more accurate but there is still a control loop that may not be fully accurate.

Q: What does it mean to calibrate the translation stage? What two pieces of information do you need to find the calibration factor?

< TODO formula for calibration factor>

Mon Feb 26

Task List:

Determining Wavelength of Sodium

Observations:
- Placed sodium lamp in front of the laser, then put the diffuser in front of the sodium lamp
- We used the lens to collimate the light from the sodium lamp
- We placed on the apeture changing component for the camera on and used the metal post in the mirror to align the two beams